[image: image1.emf] 


EXIT SWITCH

 MODEL : IES-20(R)

[image: image2.png]



Technical Specifications

	Parameter
	Value

	Model
	IES-20 (R)

	Contact & Voltage Rating
	4A at 250V AC.

	Contact Arrangement
	COM/NO/NC   SPDT

	Contact Resistance (Max, Initial)
	20 m Ohms

	Mechanical Life
	50,000 Cycles 

	Construction
	Stain less Steel

	Back cover
	ABS plastic/Black

	Face plate
	Stain less steel

	Switch Type
	Momentary SPDT Micro Switch 

	LED
	Push to red

	Mounting Type
	Flush or Surface

	Weight
	90 Grams.

	Size
	95 x 45 x 37 mm

	Application
	Used as exit switch/Emergency push switch


[image: image3.emf]
JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.
