[image: image1.emf] 


EXIT SWITCH

 MODEL: IES-60(S) 

[image: image2.png]PRESS TO EXIT

©
o PN
g




Specifications

	Parameter
	Value

	Model
	IES-60 (S)

	Contact & Voltage Rating
	4 A at 250V AC.

	Contact Arrangement
	COM/NO / NC   SPDT

	Contact Resistance (Max, Initial)
	20 m Ohms

	Mechanical Life
	50,000 Cycles 

	Construction
	Steel face plate

	Color
	Stainless steel mat finish

	Switch Type
	Momentary SPDT Micro Switch 

	Mounting Type
	Flush mount

	Weight
	110 Grams.

	Size
	90 x 90 x 37 mm

	Application
	Used in Access & Emergency systems


[image: image3.emf]
JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.

