# RESPONSE INDICATOR [ RI ]

# MODEL RI-20(P) [WHITE]

Specifications:

Operating voltage                                :   24V DC (max).

Current consumptions                        :   10mA.

Cabinet material                                   :   ABS Plastic.

Cabinet Color                                        :   White.

Mounting                                               :   Surface/Flush Mount (back box)

Dimensions                                           :   ( 66L x 57H x 33D )mm.

Applications                                          : Fire alarm

JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.