[image: image3.png]



EXIT SWITCH

MODEL: IES-30(A)

[image: image1.emf] 

             

	Parameter
	Value

	Model
	IES-30 (A)

	Contact & Voltage Rating
	4 A at 250V AC.

	Contact Arrangement
	COM/NO/NC    SPDT

	Contact Resistance (Max, Initial)
	20 m Ohms

	Mechanical Life
	50,000 Cycles 

	Construction
	Aluminum face plate

	Color
	Silver grey

	Switch Type
	Momentary SPDT Micro Switch 

	Mounting Type
	Flush mount

	Weight
	120 Grams.

	Size
	95 x 76 x 37 mm

	Application
	Used as exit switch/Emergency push switch


[image: image2.jpg]NABCB
Qmo24




JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.

