# EMERGENCY PULL CHAIN

# MODEL IMPC-10(P) GREEN

# Specifications

| Model | IMPC-10(P)GREEN |
| --- | --- |
| Descriptions | Emergency pull the Chain to trigger the Alarm Unit |
| Contact & Voltage Rating | 10A @ 250V AC. |
| Contact Arrangement | COM, NO, NC |
| Contact Function | Momentary Operation |
| Construction Material | ABS plastic |
| Available Color | Green |
| Available Contact type | SPDT |
| Status Indication | LED |
| Mounting Type | Surface Mount. |
| Weight | 135 Grams. |
| Size | 86L x 50D x 86H mm |
| Applications | Emergency and Access Control systems. |

JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.