
MAGNETIC SENSOR

 MODEL: MC-10(S)NC 

[image: image1.png]



Specifications
	Model
	MC-10(S)NC

	Contact Rating


	500mA at 24V

	Operating Gap


	12 to15 mm

	Available Contacts
	COM, NO, NC

	Construction Material
	ABS Plastic

	Available Color
	Opel White

	Mounting type
	Surface Mount

	Weight
	18 Grams

	Applications


	It is used in Access Control systems, Doors, Machines

	Dimensions:

Reed switch assembly

Magnet assembly


	33L x 8H x 15W mm.

33L x 8H x 15W mm.



	Wiring details:

COM

NO

NC

Tamper  
	Red

Blue
Black

Yellow & Green


[image: image2.emf]
JORDAN SAFETY SYSTEMS. AN ISO 9001: 2000 CERTIFIED COMPANY.

[image: image3.png]©

Insyi

Pt of . Rowod s Gl



