[image: image1.emf] 

  EXIT SWITCH

MODEL: IESPTL-70(R)

[image: image2.png]



Specifications

	Parameter
	Value

	Model
	IESPTL-70 (R)

	Contact & Voltage Rating
	3A at 250V AC.

	Contact Arrangement
	SPST, Push to Latch & Release

	Contact Resistance (Max, Initial)
	10 m Ohms

	Mechanical Life
	50,000 Cycles 

	Construction
	Steel face plate

	Back cover
	ABS plastic

	Color
	Stainless steel mat finish

	LED
	Yes

	Mounting Type
	Flush or Surface

	Weight
	87 Grams.

	Size
	95 x 46 x 41 mm

	Application
	Used in Access & Emergency Systems


[image: image3.emf]
JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.
