[image: image1.emf] 


EXIT SWITCH

MODEL : IES-10(O) 

[image: image2.png]®
o

PRESS TO EXIT

ra

A(ﬁ ’
et —




Technical Specifications

	Parameter
	Value

	Model
	IES-10 (O)

	Contact & Voltage Rating
	4 A at 250V AC.

	Contact Arrangement
	COM/NO/ NC SPDT

	Contact Resistance (Max, Initial)
	20 m Ohms

	Mechanical Life
	50,000 Cycles 

	Construction
	Stainless Steel face plate

	Back cover
	ABS plastic/BLACK

	Face plate
	STAINLESS STEEL

	Switch Type
	Momentary SPDT Micro Switch 

	LED
	 Push to red

	Mounting Type
	Flush or Surface

	Weight
	65 Grams.

	Size
	 95 x 45 x 37 mm

	Application
	Used as exit switch/Emergency push switch


[image: image3.emf]
JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.

