# RESPONSE INDICATOR [ RI ]

# MODEL RI-20(MB) [WHITE]

Specifications:

Operating voltage                           :   24V DC (max).

Current consumptions                   :   10mA.

Cabinet material                             :   MS metal.

Cabinet Color                                  :   White

Mounting                                         :   Surface/Flush Mount (back box)

Dimensions                                     :   ( 66L x 66H x 40D )mm.

Applications                                    : Fire alarm

JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.