
[image: image5.png]



                                             EXIT SWITCH

 MODEL: IES-40(A) 


[image: image2]
Specifications

	Parameter
	Value

	Model
	IES-40 (A)

	Contact & Voltage Rating
	4 A at 250V AC.

	Contact Arrangement
	COM/NO/NC   SPDT 

	Contact Resistance(Max, Initial)
	20 m Ohms

	Mechanical Life
	50,000 Cycles 

	Construction
	Aluminum face plate

	Color
	Silver grey

	Switch Type
	Momentary SPDT Switch 

	Mounting Type
	Flush mount

	Weight
	70 Grams.

	Size
	89 x 50 x 37mm

	Application
	Used as exit switch/Emergency push switch


[image: image3.jpg]NABCB
Qmo24




JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.

[image: image1][image: image4.png]©

Insyi

Pt of . Rowod s Gl



