# EM LOCK

# MODEL IEL-210NC

# Specifications

| Model | IEL-210NC |
| --- | --- |
| Operating Supply | 12V/24V (Selectable) |
| Current Consumptions | 500mA @ 12V/ 250mA @ 24V |
| Pulling Force | 1200 LBS |
| Lock status indication | LED provided (power to red) |
| Built in sensor | COM, NO, NC |
| Construction Material | Aluminum |
| Mounting Type | Surface Mount |
| Weight | 5Kgs (Approx) |
| Lock Size | [267L x 74W x 43H]mm |
| Armature plate size | [185L x 61W x 16H]mm |
| Applications | In swing & out swing doors |

JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY