# MCP WITH SOUNDER

# MODEL MCP-FS10(M) [RED]

SPECIFICATIONS:

Operating voltage                            :   12/24V DC( Select).

Current consumption                      :   75 mA  @ 12VDC.

100mA @ 24VDC.

Sounder type                                    :    piezo Electric type.

Variety of sounds                             :   Police Siren, Fire engine siren,

Ambulance Siren, Machine Gun.

Sound level                                        :   120 dB.

Visible Indications                            :   5mm Red LED.

Activation                                          :  Press to alarm (Glass breakable)

Contact Ratings (max)                       :   5A @ 250VAC .

Material                                              :   MS metal.

Color                                                   :   Red.

Box Dimensions                                 :    ( 194H x 104L x 73D )mm.

Mounting                                            :    Surface mount.

Weight                                                 :    830 Grams.

Applications                                        :    It is used in Fire, Burglar & Emergency system.

JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.