# FIRE ALARM PANEL

# MODEL IFP-02

SPECIFICATIONS

| MODEL | IFP-02 |
| --- | --- |
| TYPE | CONVENTIONAL MICRO CONTROLLER BASED FIRE PANEL |
| OPERATING SUPPLY | 230V AC, 50HZ ± 10% |
| STANDBY POWER | 24V DC |
| OPERATING TEMPERATURE | 0°C TO 49°C ± 2°C |
| OPERATING HUMIDITY | 95% ( NON - CONDENSING ) |
| NO. OF ZONES | 2 ZONE PANEL |
| COLOR | BLACK WITH SIEMENS GREY [STRUCTURE FINISH] DUAL COLOR |
| DIMENSIONS | 350W × 263H × 103D in MM |
| WEIGHT | 5Kg ( Approximate ) |

JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.