# RESPONSE INDICATOR [ RI ]

# MODEL RI-10(P) [RED]

Specifications:

Operating voltage                              :   24V DC (max).

Current consumptions                      :   10mA.

Cabinet material                                 :   ABS Plastic.

Cabinet Color                                      :   Red.

Mounting                                            :   Flush Mounting/With back box

Dimensions                                        :   ( 66L x 57H x 33D )mm.

Applications                                       : Fire alarm

JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.