
MAGNETIC SENSOR

MODEL: MC-50(S)NC


[image: image1]
Specifications
	Model
	MC-50(S)NC 

	Contact Rating                         
	500mA at 24v DC

	Operating Gap                         
	35 TO 50mm

	Available Contacts                   
	COM, NO, NC

	Construction Material             
	ABS Plastic

	Mounting Type
	Surface mounting

	Available Color                         
	Opel White

	Weight
	18Grams (Approx)

	Applications
	It is used in Access Control systems, Doors, Machines

	Indication
	Green/Red (Dual LED)

	Reed switch assembly
	(65L x 14W x 15H) mm.

	Magnet assembly
	(65L x 14W x 15H) mm

	Supply for LED
	RED+/BLACK- For LED  12V DC                             

	Sensor cable
	Tamper (yellow, green) /Com red, No blue, Nc black


[image: image2.emf]
JORDAN SAFETY SYSTEMS. AN ISO 9001:2000 CERTIFIED COMPANY.   
[image: image3.png]©

Insyi

Pt of . Rowod s Gl



[image: image4.png]


